## Release Mei 2024 NL
Versie 3.1.27 Datum: 18 Mei 2024
Wijziging | Omschrijving wijziging
Nieuwe velden, codes of gewijzigde instructies
Update beschrijvingen codelijst 'SterilisationTypeCodes' | Engelse, Nederlandse en Franse beschrijvingen in de codelijst 'SterilisationTypeCodeList' bijgewerkt, zodat ze correcte beschrijvingen bevatten.
Revisie document vanweg transitie MDD/IVDD/AIMDD naar MDR/IVDR | Vanwege de transitie van MDD/IVDD/AIMDD naar MDR/IVDR moet het via GDSN mogelijk worden om het document met de 'eigen verklaring/fabrikantenverklaring', dat een product onder de oude directive nog verkocht mag worden ondanks dat het CE certificaat verlopen is, te delen. Hiervoor wordt de instructie van het veld 'referencedFileTypeCode' aangepast. In het veld 'referendeFileTypeCode' moet de code 'DOCUMENT' worden gebruikt om de 'eigen verklaring/fabrikantenverklaring' te delen.
Wijziging attribuut voor steriliteit + toevoegen bijbehorende validatie | Het veld ‘tradeItemFeatureCodeReference’ wordt vervangen door het veld ‘initialManufacturerSterilisationCode’. Het veld ‘initialManufacturerSterilisationCode’ zit al in het ECHO data model, maar zal van voorwaardelijk verplicht overgaan naar verplicht. Daaraan hangt een codelijst 'SterilisationTypeCode' waar uit de volgende codes gekozen kunnen worden: - Autoclaaf (AUTOCLAVE) - Bètastraling (BETA_RADIATION) - Eto-Ethyleenoxide (ETO_ETHYLENE_OXIDE) - Formaldehyde (FORMALDEHYDE) - Gammastraling (GAMMA_RADIATION) - Waterstofperoxide (HYDROGEN_PEROXIDE) - Ozon (OZONE) - Plasma (PLASMA) - Droge hitte (DRY_HEAT) - Magnetronstraling (MICROWAVE_RADIATION) - Bestraling met elektronenstralen (ELECTRON_BEAM_IRRADIATION) - Niet gesteriliseerd (NOT_STERILISED)
Nieuwe en gewijzigde validaties (zie het validatie overzicht op de website voor alle details) |  | Soort validatie
Wijziging validatieregel 500.466 | Wijziging validatieregel 500.466 van 'isTradeItemAConsumerUnit' naar 'isTradeItemABaseUnit' | Signalering
Wijziging attribuut voor steriliteit + toevoegen bijbehorende validatie | Er wordt een validatieregel toegevoegd: 500.536 - Voor doelmarkt Nederland dient voor medische hulpmiddelen het veld 'Type sterilisatie gebruikt door fabrikant' ingevuld te worden, en moet een van de volgende waarden hebben: 'AUTOCLAVE', 'BETA_RADIATION', 'ETO_ETHYLENE_OXIDE', 'FORMALDEHYDE', 'GAMMA_RADIATION', 'HYDROGEN_PEROXIDE', 'OZONE', 'PLASMA', ' DRY_HEAT', 'MICROWAVE_RADIATION', 'ELECTRON_BEAM_IRRADIATION' or 'NOT_STERILISED'. | Signalering

## Release May 2024 EN
Version 3.1.27 Date: 18 May 2024
Change | Description change
New attributes, code lists or changed instructions
Update descriptions code list 'SterilisationTypeCodes' | Update English, Dutch and French descriptions in codelist 'SterilisationTypeCodeList' to contain correct descriptions.
Revision document due to transition from MDD/IVDD/AIMDD to MDR/IVDR | Due to the transition from MDD/IVDD/AIMDD to MDR/IVDR, it should become possible via GDSN to share the document with the 'manufacturer's declaration/self-declaration', that a product still can be sold under the directive while the CE certificate has expired. For this, the instruction of the field 'referencedFileTypeCode' is adjusted. In the field 'referencedFileTypeCode' the code 'DOCUMENT' must be used to share the 'manufacturer's declaration/self-declaration'.
Change attribute for sterility + add associated validation | The 'tradeItemFeatureCodeReference' field will be replaced for 'initialManufacturerSterilisationCode'. The 'initialManufacturerSterilisationCode' field is already in the ECHO data model, but will change from conditionally mandatory to mandatory. Attached to it is a code list 'SterilisationTypeCode' from which the following codes can be selected: - Autoclave (AUTOCLAVE) - Beta radiation (BETA_RADIATION) - Eto ethylene oxide (ETO_ETHYLENE_OXIDE) - Formaldehyde (FORMALDEHYDE) - Gamma radiation (GAMMA_RADIATION) - Hydrogen peroxide (HYDROGEN_PEROXIDE) - Ozone (OZONE) - Plasma (PLASMA) - Dry heat (DRY_HEAT) - Microwave radiation (MICROWAVE_RADIATION) - Electron beam irradiation (ELECTRON_BEAM_IRRADIATION) - Not sterilised (NOT_STERILISED)
New and changed validations (see validation-overview on the website for all details) |  | Type of validation
Change validation rule 500.466 | Change validation rule 500.466 from isTradeItemAConsumerUnit to isTradeItemABaseUnit | Signalling
Change attribute for sterilisation + add associated validation | A new validation rule is added: 500.536 - For target market Netherlands the field 'Initial manufacturer sterilisation code' shall be used and must contain one of the following values: 'AUTOCLAVE', 'BETA_RADIATION', 'ETO_ETHYLENE_OXIDE', 'FORMALDEHYDE', 'GAMMA_RADIATION', 'HYDROGEN_PEROXIDE', 'OZONE', 'PLASMA', ' DRY_HEAT', 'MICROWAVE_RADIATION', 'ELECTRON_BEAM_IRRADIATION' or 'NOT_STERILISED' for medical devices. | Signalling